## BOM
Item | Location | Description | Quantity | Unit Cost (€) | Vat % | Amount | Gross | Total | Reference | Percentage | Profit | Customer Price
Rack | Supermarket | 42U Rack | 1 | 1388 | 23% | 319.24 | 1707.24 | 1707.24 | 42U Rack | 10% | 170.724 | 1877.964
UPS | Supermarket | UPS 3kVA | 1 | 917 | 23% | 210.91 | 1127.91 | 1127.91 | UPS 3kVA | 50% | 563.955 | 1691.865
PDU | Supermarket | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Forecourt | 42U Rack | 1 | 1388 | 23% | 319.24 | 1707.24 | 1707.24 | 42U Rack | 10% | 170.724 | 1877.964
UPS | Forecourt | UPS 3kVA | 1 | 917 | 23% | 210.91 | 1127.91 | 1127.91 | UPS 3kVA | 50% | 563.955 | 1691.865
PDU | Forecourt | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Test & Service | 42U Rack | 1 | 1388 | 23% | 319.24 | 1707.24 | 1707.24 | 42U Rack | 10% | 170.724 | 1877.964
UPS | Test & Service | UPS 3kVA | 1 | 917 | 23% | 210.91 | 1127.91 | 1127.91 | UPS 3kVA | 50% | 563.955 | 1691.865
PDU | Test & Service | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Battery Building 1 | 24U Rack | 1 | 980 | 23% | 225.4 | 1205.4 | 1205.4 | 24U Rack | 10% | 120.54 | 1325.94
UPS | Battery Building 1 | UPS 2kVA | 1 | 650 | 23% | 149.5 | 799.5 | 799.5 | UPS 2kVA | 50% | 399.75 | 1199.25
PDU | Battery Building 1 | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Battery Building 2 | 24U Rack | 1 | 1388 | 23% | 319.24 | 1707.24 | 1707.24 | 24U Rack | 10% | 170.724 | 1877.964
UPS | Battery Building 2 | UPS 2kVA | 1 | 650 | 23% | 149.5 | 799.5 | 799.5 | UPS 2kVA | 50% | 399.75 | 1199.25
PDU | Battery Building 2 | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Slow Charge | 18U Outdoor Cabinet | 1 | 416 | 23% | 95.68 | 511.68 | 511.68 | 18U Outdoor Cabinet | 10% | 51.168 | 562.848
UPS | Slow Charge | UPS 2kVA | 1 | 650 | 23% | 149.5 | 799.5 | 799.5 | UPS 2kVA | 50% | 399.75 | 1199.25
PDU | Slow Charge | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Fast Charge | 18U Outdoor Cabinet | 1 | 416 | 23% | 95.68 | 511.68 | 511.68 | 18U Outdoor Cabinet | 10% | 51.168 | 562.848
UPS | Fast Charge | UPS 2kVA | 1 | 650 | 23% | 149.5 | 799.5 | 799.5 | UPS 2kVA | 50% | 399.75 | 1199.25
PDU | Fast Charge | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Substation 1 | 12U Wall Rack | 1 | 134 | 23% | 30.82 | 164.82 | 164.82 | 12U Wall Rack | 10% | 16.482 | 181.302
UPS | Substation 1 | UPS 1kVA | 1 | 152 | 23% | 34.96 | 186.96 | 186.96 | UPS 1kVA | 10% | 18.696 | 205.656
PDU | Substation 1 | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Substation 2 | 12U Wall Rack | 1 | 134 | 23% | 30.82 | 164.82 | 164.82 | 12U Wall Rack | 10% | 16.482 | 181.302
UPS | Substation 2 | UPS 1kVA | 1 | 152 | 23% | 34.96 | 186.96 | 186.96 | UPS 1kVA | 10% | 18.696 | 205.656
PDU | Substation 2 | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Rack | Car Wash | 12U Wall Rack | 1 | 134 | 23% | 30.82 | 164.82 | 164.82 | 12U Wall Rack | 10% | 16.482 | 181.302
UPS | Car Wash | UPS 1kVA | 1 | 152 | 23% | 34.96 | 186.96 | 186.96 | UPS 1kVA | 10% | 18.696 | 205.656
PDU | Car Wash | Standard PDU | 2 | 759 | 23% | 174.57 | 933.57 | 1867.14 | Standard PDU | 30% | 560.142 | 2427.282
Labour | Supermarket | Large Building | 16 | 50 | 23% | 11.5 | 61.5 | 984 | €50/hr is a common standard consultant/installer hourly rate | 10% | 98.4 | 1082.4
Labour | Forecourt | Large Building | 16 | 50 | 23% | 11.5 | 61.5 | 984 | €50/hr is a common standard consultant/installer hourly rate | 10% | 98.4 | 1082.4
Labour | Test & Service | Large Building | 16 | 50 | 23% | 11.5 | 61.5 | 984 | €50/hr is a common standard consultant/installer hourly rate | 10% | 98.4 | 1082.4
Labour | Battery Building 1 | Medium Building | 12 | 50 | 23% | 11.5 | 61.5 | 738 | €50/hr is a common standard consultant/installer hourly rate | 10% | 73.8 | 811.8
Labour | Battery Building 2 | Medium Building | 12 | 50 | 23% | 11.5 | 61.5 | 738 | €50/hr is a common standard consultant/installer hourly rate | 10% | 73.8 | 811.8
Labour | Slow Charge | Outdoor Cabinet | 12 | 50 | 23% | 11.5 | 61.5 | 738 | €50/hr is a common standard consultant/installer hourly rate | 10% | 73.8 | 811.8
Labour | Fast Charge | Outdoor Cabinet | 12 | 50 | 23% | 11.5 | 61.5 | 738 | €50/hr is a common standard consultant/installer hourly rate | 10% | 73.8 | 811.8
Labour | Substation 1 | Small Building | 8 | 50 | 23% | 11.5 | 61.5 | 492 | €50/hr is a common standard consultant/installer hourly rate | 10% | 49.2 | 541.2
Labour | Substation 2 | Small Building | 8 | 50 | 23% | 11.5 | 61.5 | 492 | €50/hr is a common standard consultant/installer hourly rate | 10% | 49.2 | 541.2
Labour | Car Wash | Small Building | 8 | 50 | 23% | 11.5 | 61.5 | 492 | €50/hr is a common standard consultant/installer hourly rate | 10% | 49.2 | 541.2
[10 empty] | Total | 10641.591 | 53387.781
[7 empty] | Total Cost | 42746.19